Mackay School District No. 182

NONINSTRUCTIONAL OPERATIONS 	8300P9

Broken Water Main

In the event of a broken water main in the building, or on the grounds:

- The water main shall be turned off;

- Notify the building principal;

- Water in the building shall be removed immediately to prevent damage to floors and floor coverings; and

- The building Principal shall notify the local water department to coordinate any activities necessary to correct the emergency.

Procedure History:

Promulgated on: August 8, 2016

Revised on: