Mackay School District No. 182

NONINSTRUCTIONAL OPERATIONS 	8310F2

Automated External Defibrillators

MACKAY SCHOOL DISTRICT

AUTOMATED EXTERNAL DEFIBRILLATOR (AED)

INSPECTION AND INVENTORY

Building:

Device Location:

| DATE TIME r-Routine p-Post Use |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inventory Items: |  |  |  |  |  |  |  |  |  |  |
| Storage cabinet intact |  |  |  |  |  |  |  |  |  |  |
| AED exterior intact |  |  |  |  |  |  |  |  |  |  |
| Battery installed and functional |  |  |  |  |  |  |  |  |  |  |
| Spare battery available |  |  |  |  |  |  |  |  |  |  |
| AED self test |  |  |  |  |  |  |  |  |  |  |
| AED user guide available |  |  |  |  |  |  |  |  |  |  |
| CPR guide available |  |  |  |  |  |  |  |  |  |  |
| Two sets of electrodes |  |  |  |  |  |  |  |  |  |  |
| Incident report forms (2) |  |  |  |  |  |  |  |  |  |  |
| Pen |  |  |  |  |  |  |  |  |  |  |
| Mouth barrier device (2) |  |  |  |  |  |  |  |  |  |  |
| Razor |  |  |  |  |  |  |  |  |  |  |
| Scissors |  |  |  |  |  |  |  |  |  |  |
| Non-latex gloves (2 pair) |  |  |  |  |  |  |  |  |  |  |
| Gauze pads or towel |  |  |  |  |  |  |  |  |  |  |
| Initials of Inspector |  |  |  |  |  |  |  |  |  |  |

Corrective Action Required and Completed:

| Date | Details | Reported to Superintendent | Initials |
| --- | --- | --- | --- |